POLICY TITLE: REFRIGERATOR MAlNTENCE

POLICY STATEMENT: The Health Center will maintain their specimen refrigerators ensuring they

are safe and clean for supplies and specimens.

PROCEDURE :

- Purpose

  - To effectively preserve supplies

  - To maintain efficacies of medications and vaccines

- Steps

  - Ranges for the refrigerator must be documented on the log sheet.

  - The refrigerator temperatures must be checked and documented on the log sheets on each refrigerator every morning of each business day.

  - When the centers are closed, a device is used to record the temperatures over a period of time. This must be checked and documented the morning of the next business day.

  - The nurse supervisor must be notified immediately if the temperature is out of range.

  - The refrigerator will be wiped out with a disinfectant cleaner monthly by the Infection Control Nurse and documented in the cleaning manual.

  - The results of the log sheets will be reported to QA/QI monthly.