POLICY T1TLE: AUTOCLAVING (STERILIZATION OF INSTRUMENTS)

POLICY STATEMENT: The Health Center will insure all instruments are free from infectious Disease.

PROCEDURE:

- Purpose:

  - To prevent the spread nosocomial infections.

- Equipment

  - Autoclave

  - Gloves

  - Sterilization tape

  - Sterilizer wrapping paper or self-seal pouches

  - Distilled water

  - Gauze pads 2x2 or 4x4

- Steps

  - Unwrapped

    - Apply gloves

    - Place instruments in the autoclave and follow sterilization procedure.

  - Self-Sealed Pouches

    - Apply gloves

    - Place 4 gauze sponges in the pouch.

    - Place instrument(s) in the pouch in an opened position.

    - Seal the ends with the adhesive or sterilization tape.

  - Wrapping

    - Apply gloves

    - Lay flat a piece of sterilization wrap.

    - In the center, place 6 gauze sponges side by side. (three each side)

    - Place the instrument(s) on the gauze in an opened position.

    - Fold the corner closest to you over the instrument(s). Fold the tip of this corner back toward you creating a tab.

    - Take the right corner and fold it over the instruments(s). Fold the tip of this corner to create a tab.

    - Repeat this step with the left side.

    - Take the remaining corner and fold it over the instruments and continue to wrap around package.

    - Secure the final corner with the sterilization tape.

    - Inspect the package for openings or protrusions. If any are noted, repeat this process using a new wrap.

    - Label the tape with the contents of the package. No expiration date is necesssary.

  - Sterilizing

    - Check the autoclave water level. If the level is low, fill reservoir with distilled water.

    - Place the items to be sterilized into the autoclave.

    - Program the autoclave according to the package type and Start autoclave.

    - Remove gloves and discard.

    - Wash hands