# Medical Policy

Facility Emergency - Fire

DEFINITION:

- “Code Red” – The center-wide audible code to identify fire emergencies.

- 911 – The telephone emergency system number, used to notify outside agency of emergency situations at this center.

PROCESS:

In the event of a fire, the following events are to be immediately implemented:

- The staff member identifying the fire will announce or designate someone to announce on the telephone intercom system that a “Code Red” is in progress.  The announcement will include the words “Code Red,” the general location of the code, the specific location of the code, and the time elapsed from the first announcement.

For example:  Code Red, Pediatrics, Nursing, 15 seconds.

- An attempt will be made to extinguish the fire with the fire extinguisher

immediately.  However, if the fire is not under control within 30 seconds, the announcer will report the emergency to 911, and the staff will immediately start evacuation procedures of the premises according to pre-established plans.  See OSHA manual for details.